## Planilha1
VARIÁVEIS
GHR | log GHR | Total Building Area m² | Total End Uses [kWh/ano] | kWh/m²/ano | ATM_light | ATM_interior Equip | ATM_cooling + fan | ZONA ATM [KWh/ano] | CONSUMO: TOTAL - ATM [kWh/ano] | Equipment | CONSUMO: TOTAL - ATM - EQUIPAMENT [kWh/ano] | AVAC | AVAC_1 | Lights | Lighting [W/m2] | BuildingSurface_Detailed | ENT | Construction | ENV | WindowMaterial_SimpleGlazingSystem | WMSGS | Building | BUID | ZoneVentilation_DesignFlowRate | ZVDF
9367 | 3.9716 | 600 | 95620.26 | 159.3671 | 875.25 | 2862.47 | 638.7 | 4376.42 | 91243.84 | 39869.73 | 51374.11 | Splitão | 2 | L01 | 15 | ENT01 | 1 | ENV02 | 3.7 | WMSGS01 | 0.3 | BULD02 | 2 | ZVDF01 | 1
9367 | 3.9716 | 600 | 105460.82 | 175.768 | 1167 | 2862.47 | 586.64 | 4616.11 | 100844.71 | 39869.73 | 60974.98 | Splitão | 2 | L02 | 20 | ENT01 | 1 | ENV02 | 3.7 | WMSGS01 | 0.3 | BULD02 | 2 | ZVDF01 | 1
9367 | 3.9716 | 600 | 83313.7 | 138.8562 | 875.25 | 2862.47 | 604.02 | 4341.74 | 78971.96 | 39869.73 | 39102.23 | VRF | 1 | L01 | 15 | ENT01 | 1 | ENV02 | 3.7 | WMSGS01 | 0.3 | BULD02 | 2 | ZVDF01 | 1
9367 | 3.9716 | 600 | 93527.87 | 155.8798 | 1167 | 2862.47 | 645.23 | 4674.7 | 88853.17 | 39869.73 | 48983.44 | VRF | 1 | L02 | 20 | ENT01 | 1 | ENV02 | 3.7 | WMSGS01 | 0.3 | BULD02 | 2 | ZVDF01 | 1
65930 | 4.8191 | 600 | 121530.61 | 202.551 | 875.25 | 2863.47 | 1318.57 | 5057.29 | 116473.32 | 39869.73 | 76603.59 | Splitão | 2 | L01 | 15 | ENT01 | 1 | ENV02 | 3.7 | WMSGS01 | 0.3 | BULD02 | 2 | ZVDF01 | 1
65930 | 4.8191 | 600 | 132850.59 | 221.4176 | 1167 | 2864.47 | 1381.21 | 5412.68 | 127437.91 | 39869.73 | 87568.18 | Splitão | 2 | L02 | 20 | ENT01 | 1 | ENV02 | 3.7 | WMSGS01 | 0.3 | BULD02 | 2 | ZVDF01 | 1
65930 | 4.8191 | 600 | 95790.99 | 159.6517 | 875.25 | 2865.47 | 1138.02 | 4878.74 | 90912.25 | 39869.73 | 51042.52 | VRF | 1 | L01 | 15 | ENT01 | 1 | ENV02 | 3.7 | WMSGS01 | 0.3 | BULD02 | 2 | ZVDF01 | 1
65930 | 4.8191 | 600 | 105870.18 | 176.4503 | 1167 | 2866.47 | 1177.83 | 5211.3 | 100658.88 | 39869.73 | 60789.15 | VRF | 1 | L02 | 20 | ENT01 | 1 | ENV02 | 3.7 | WMSGS01 | 0.3 | BULD02 | 2 | ZVDF01 | 1